**Detector Tube Pump—Leakage Test**

|  |  |  |  |
| --- | --- | --- | --- |
| **Equipment Manufacturer:** | | | |
| **Model:** | | | |
| **Serial Number:** | | | |
| **LEAKAGE TEST** | | | |
| Each day prior to use, perform a leakage test on the pump in accordance with the manufacturer’s instructions*. (Note: some pumps may require both a valve leak check and a field volume check.)* This is done by inserting an unopened detector tube into the pump tube holder and withdrawing and locking the piston in the outer position, or fully squeezing the bellows. The vacuum generated should hold for the minimum time specified by the manufacturer. Automatic pumps should be tested according to the manufacturer’s instructions. **In the event of leakage that cannot be repaired in the field, do not use the pump**. Record that the leakage test was made and repair or replace the pump as necessary. | | | |
| **Date** | **Tested**  **By** | **Pass/Fail** | **Comments** |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |