## Sheet1
HW | 3745-50-44 | A | PERMIT INFO REQUIRED FOR ALL HAZ WASTE FACILITIES | ESTABLISHES THE SUBSTANTIVE HAZARDOUS WASTE PERMIT REQUIREMENTS NECESSARY FOR OHIO EPA TO DETERMINE FACILITY COMPLIANCE. INCLUDES INFORMATION SUCH AS FACILITY DESCRIPTION, WASTE CHARACTERISTICS, EQUIPMENT DESCRIPTIONS, CONTINGENCY PLAN, FACILITY LOCATION, TOPOGRAPHIC MAP, ETC. | PERTAINS TO ANY SITE WHICH WILL HAVE TREATMENT, STORAGE OR DISPOSAL OF HAZARDOUS WASTE OCCURRING ON-SITE OR HAS EXISTING AREAS OF HAZARDOUS WASTE CONTAMINATION ON-SITE THAT WILL BE CAPPED IN-PLACE. THIS, ALONG WITH OTHER PARAGRAPHS OF THIS RULE, ESTABLISHES THE MINIMUM INFORMATION REQUIRED DURING THE REMEDIAL DESIGN STAGE. CORRECTIVE ACTION FOR WASTE MANAGEMENT UNITS
HW | 3745-50-44 | B | PERMIT INFO REQ FOR ALL HAZ WASTE LAND DISP FACILITIES | ESTABLISHES THE SUBSTANTIVE HAZARDOUS WASTE LAND DISPOSAL PERMIT REQUIREMENTS NECESSARY FOR OHIO EPA TO DETERMINE ADEQUATE PROTECTION OF THE GROUND WATER. INCLUDES INFORMATION SUCH AS GROUND WATER MONITORING DATA, INFORMATION ON INTERCONNECTED AQUIFERS, PLUME(S) OF CONTAMINATION, PLANS AND REPORTS ON GROUND WATER MONITORING PROGRAM, ETC. MANAGEMENT OF SOLID/HAZARDOUS WAS | PERTAINS TO ANY FACILITY/SITE WHICH WILL HAVE HAZARDOUS WASTE DISPOSED OF ON-SITE OR HAS EXISTING AREAS OF HAZARDOUS WASTE CONTAMINATION ON-SITE THAT WILL BE CAPPED IN-PLACE. THIS, ALONG WITH OTHER PARAGRAPHS OF THIS RULE, ESTABLISHES THE MINIMUM INFORMATION REQUIRED DURING THE REMEDIAL DESIGN STAGE.
HW | 3745-50-44 | C1 | ADD'L PERMIT INFO: HAZ WASTE STORAGE IN CONTAINERS | ESTABLISHES THE SUBSTANTIVE HAZARDOUS WASTE PERMIT REQUIREMENTS NECESSARY FOR OHIO EPA TO DETERMINE ADEQUACY OF CONTAINER STORAGE. INCLUDES INFORMATION SUCH AS DESCRIPTION OF CONTAINMENT SYSTEM, DETAILED DRAWINGS, ETC. SEE OAC 3745-55-70 THROUGH 3745-55-78 FOR ADDITIONAL CONTAINER REQUIREMENTS. | PERTAINS TO ANY SITE AT WHICH STORAGE OF HAZARDOUS WASTE ON-SITE WILL OCCUR IN CONTAINERS. CONSIDER FOR WASTES AND CONTAMINATED SOILS THAT ARE STORED PRIOR TO TREATMENT OR DISPOSAL. THIS, ALONG WITH OTHER PARAGRAPHS OF THIS RULE AND OAC 3745-55-70 THROUGH 3745-55-78, ESTABLISHES THE MINIMUM INFORMATION REQUIRED DURING THE REMEDIAL DESIGN STAGE.
HW | 3745-50-44 | C13 | ADDTL. PERMIT INFO: DRIP PADS | TECHNICAL INFORMATION REQUIRED FOR DRIP PAD OPERATION | CONSIDER FOR SITES EMPLOYING DRIP PADS IN REMEDIAL ACTIONS
HW | 3745-50-44 | C2 | ADD'L PERMIT INFO: HAZ WASTE STORAGE/ TREAT IN TANKS | ESTABLISHES SUBSTANTIVE HAZARDOUS WASTE PERMIT REQUIREMENTS NECESSARY FOR OHIO EPA TO DETERMINE ADEQUACY OF TANK TREATMENT AND STORAGE UNITS. INCLUDES INFORMATION SUCH AS ASSESSMENT OF STRUCTURAL INTEGRITY, DETAILED PLANS OF TANK SYSTEM(S), DESCRIPTION OF SECONDARY CONTAINMENT SYSTEM, ETC. SEE OAC 3745-55-90 THROUGH 3745-55-99 FOR ADDITIONAL REQUIREMENTS. | PERTAINS TO ANY SITE AT WHICH STORAGE OR TREATMENT OF HAZARDOUS WASTE IN TANKS WILL OCCUR ON-SITE. THIS, ALONG WITH OTHER PARAGRAPHS OF THIS RULE AND OAC 3745-55-90 THROUGH 3745-55-99, ESTABLISHES THE MINIMUM INFORMATION REQUIRED DURING THE REMEDIAL DESIGN STAGE.
HW | 3745-50-44 | C3 | ADD'L PERMIT INFO: HAZ WASTE STOR/TREAT IN SURF IMPOUND | ESTABLISHES SUBSTANTIVE HAZARDOUS WASTE PERMIT REQUIREMENTS NECESSARY FOR OHIO EPA TO DETERMINE ADEQUACY OF BOTH NEW SURFACE IMPOUNDMENTS AND EXTENSIONS OF EXISTING SURFACE IMPOUNDMENTS USED TO STORE OR TREAT HAZARDOUS WASTE. INCLUDES INFORMATION SUCH AS WASTE CHARACTERISTICS, DETAILED PLANS AND REPORTS, INFORMATION ON STRUCTURAL INTEGRITY, CLOSURE INFORMATION, ETC. SEE OAC 3745-56-20 THROUGH 3745-56-33 FOR ADDITIONAL SURFACE IMPOUNDMENT REQUIREMENTS. | PERTAINS TO ANY SITE AT WHICH EITHER A NEW SURFACE IMPOUNDMENT WILL BE INSTALLED OR AN EXISTING SURFACE IMPOUNDMENT WILL BE EXPANDED. THIS, ALONG WITH OTHER PARAGRAPHS OF THIS RULE AND OAC 3745-20-50 THROUGH 3745-33-60, ESTABLISHES THE MINIMUM INFORMATION REQUIRED DURING THE REMEDIAL DESIGN STAGE.
HW | 3745-50-44 | C4 | ADD'L PERMIT INFO: HAZ WASTE STOR/TREAT IN WASTE PILES | ESTABLISHES SUBSTANTIVE HAZARDOUS WASTE PERMIT REQUIREMENTS NECESSARY FOR OHIO EPA TO DETERMINE ADEQUACY OF WASTE PILES USED TO TREAT OR STORE HAZARDOUS WASTE. INCLUDES INFORMATION SUCH AS WASTE CHARACTERISTICS, DETAILED DESIGN PLANS AND REPORTS, CONTROL OF RUN-ON AND RUN-OFF, CLOSURE INFORMATION, ETC. | PERTAINS TO SITES AT WHICH HAZARDOUS WASTE WILL BE STORED OR TREATED IN WASTE PILES. CONSIDER FOR TEMPORARY STORAGE ALSO.
HW | 3745-50-44 | C5 | ADD'L PERMIT INFO: HAZ WASTE TREAT/DISP BY LAND TREAT | ESTABLISHES SUBSTANTIVE HAZARDOUS WASTE PERMIT REQUIREMENTS NECESSARY FOR OHIO EPA TO DETERMINE ADEQUACY OF LAND TREATMENT TO TREAT OR DISPOSE OF HAZARDOUS WASTES. INCLUDES INFORMATION SUCH AS WASTE CHARACTERISTICS, DESIGN MEASURES TO MAXIMIZE TREATMENT, DIMENSIONS OF TREATMENT ZONE, DESIGN OF UNIT, INFORMATION ON POTENTIAL CROPS, ETC. SEE OAC 3745-56-70 THROUGH 3745-56-83 FOR ADDITIONAL LAND TREATMENT REQUIREMENTS. | PERTAINS TO ANY SITE AT WHICH LAND TREATMENT WILL BE USED TO TREAT OR DISPOSE OF HAZARDOUS WASTES. THIS, ALONG WITH OTHER PARAGRAPHS OF THIS RULE AND OAC 3745-20-50 THROUGH 3745-33-60, ESTABLISHES THE MINIMUM INFORMATION REQUIRED DURING THE REMEDIAL DESIGN STAGE.
HW | 3745-50-44 | C6 | ADD'L PERMIT INFO: ENVIRONMENTAL PERFORMANCE STANDARDS | ESTABLISHES SUBSTANTIVE HAZARDOUS WASTE PERMIT REQUIREMENTS NECESSARY FOR OHIO EPA TO DETERMINE ADEQUACY OF SURFACE IMPOUNDMENTS, WASTE PILES, LAND TREATMENT UNITS, LANDFILLS, AND UNDERGROUND INJECTION WELLS USED TO TREAT, STORE OR DISPOSE OF HAZARDOUS WASTE. INCLUDES INFORMATION SUCH AS WASTE CHARACTERISTICS, DETAILED DESIGN PLANS AND REPORTS, CONTROL OF RUN-ON AND RUN-OFF, CLOSURE INFORMATION, ETC. SEE OAC 3745-57-01 ADDITIONAL REQUIREMENTS. | PERTAINS TO SITE AT WHICH HAZARDOUS WASTE WILL BE OR HAS BEEN STORED, TREATED OR DISPOSED OF IN SURFACE IMPOUNDMENTS, WASTE PILES, LAND TREATMENT UNITS, LANDFILLS OR UNDERGROUND INJECTION WELLS . THIS, ALONG WITH OTHER PARAGRAPHS OF THIS RULE AND OAC 3745-57-01 ESTABLISHES THE MINIMUM INFORMATION REQUIRED DURING THE REMEDIAL DESIGN STAGE.
HW | 3745-50-44 | C7 | ADD'L PERMIT INFO: HAZ WASTE DISPOSAL IN LANDFILLS | ESTABLISHES SUBSTANTIVE HAZARDOUS WASTE PERMIT REQUIREMENTS NECESSARY FOR OHIO EPA TO DETERMINE ADEQUACY OF LANDFILLS USED FOR DISPOSAL OF HAZARDOUS WASTE. INCLUDES INFORMATION SUCH AS WASTE CHARACTERISTICS, DETAILED DESIGN PLANS AND REPORTS, CONTROL OF RUN-ON AND RUN-OFF, CLOSURE INFORMATION, ETC.. SEE OAC 3745-57-02 THROUGH 3745-57-18 FOR ADDITIONAL LANDFILL REQUIREMENTS. | PERTAINS TO SITE AT WHICH HAZARDOUS WASTE WILL BE OR HAS BEEN DISPOSED OF IN LANDFILLS. THIS, ALONG WITH OTHER PARAGRAPHS OF THIS RULE AND OAC 3745-57-02 THROUGH 3745-57-18, ESTABLISHES THE MINIMUM INFORMATION REQUIRED DURING THE REMEDIAL DESIGN STAGE.
HW | 3745-50-44 | C8 | ADD'L PERMIT INFO: HAZ WASTE T/S/D IN MISC UNITS | ESTABLISHES SUBSTANTIVE HAZARDOUS WASTE PERMIT REQUIREMENTS NECESSARY FOR OHIO EPA TO DETERMINE ADEQUACY OF MISCELLANEOUS UNITS USED TO TREAT OR STORE HAZARDOUS WASTE. INCLUDES INFORMATION SUCH AS WASTE CHARACTERISTICS, DETAILED DESIGN PLANS AND REPORTS, CONTROL OF RUN-ON AND RUN-OFF, CLOSURE INFORMATION, ETC.. SEE OAC 3745-57-90 THROUGH 3745-57-93 FOR ADDITIONAL REQUIREMENTS FOR MISCELLANEOUS UNITS. PERTAINING TO CHANNELS, DITCHES, | PERTAINS TO FACILITY/SITE AT WHICH HAZARDOUS WASTE WILL BE STORED, TREATED OR DISPOSED OF IN MISCELLANEOUS UNITS. THIS, ALONG WITH OTHER PARAGRAPHS OF THIS RULE AND OAC 3745-57-90 THROUGH 3745-57-93, ESTABLISHES THE MINIMUM INFORMATION REQUIRED DURING THE REMEDIAL DESIGN STAGE.
HW | 3745-50-44 | C8 | ADD'L PERMIT INFO: HAZ WASTE TREATMENT BY INCINERATION | ESTABLISHES SUBSTANTIVE HAZARDOUS WASTE PERMIT REQUIREMENTS NECESSARY FOR OHIO EPA TO DETERMINE ADEQUACY OF INCINERATORS USED TO TREAT HAZARDOUS WASTE. INCLUDES INFORMATION SUCH AS WASTE CHARACTERISTICS, DETAILED DESIGN PLANS AND REPORTS, TRIAL BURN DATA, CLOSURE INFORMATION, ETC... SEE OAC 3745-57-40 THROUGH 3745-57-51 FOR ADDITIONAL INCINERATOR REQUIREMENTS. | PERTAINS TO SITE AT WHICH HAZARDOUS WASTE WILL BE TREATED BY INCINERATION. THIS, ALONG WITH OTHER PARAGRAPHS OF THIS RULE AND OAC 3745-57-40 THROUGH 3745-57-51, ESTABLISHES THE MINIMUM INFORMATION REQUIRED DURING THE REMEDIAL DESIGN STAGE.
HW | 3745-50-58 | E,I,J | CONDITIONS APPLICABLE TO ALL PERMITS | ESTABLISHES GENERAL PERMIT CONDITIONS APPLIED TO ALL HAZARDOUS WASTE FACILITIES IN OHIO. INCLUDES CONDITIONS SUCH AS OPERATION AND MAINTENANCE, SITE ACCESS, MONITORING, ETC. | PERTAINS TO ALL ALTERNATIVES THAT WILL INCORPORATE TREATMENT, STORAGE OR DISPOSAL OF HAZARDOUS WASTE.
HW | 3745-50-62 | A,B,C,D | TRIAL BURN FOR INCINERATORS | SPECIFIES REQUIREMENTS OF A TRIAL BURN. | PERTAINS TO ANY ALTERNATIVE INCORPORATING ON-SITE INCINERATION.
HW | 3745-51-05 | A-J | SPECIAL REQ. FOR CONDITIONALLY EXEMPT SMALL QUANTITY GENERATORS | SPECIFIES REQUIREMENTS FOR CONDITIONALLY EXEMPT SMALL QUANTITY GENERATORS OF HAZARDOUS WASTE. PROVIDES RELIEF FROM MANY OF THE HAZARDOUS WASTE REGULATIONS. | CONSIDER FOR SITES WHERE THE QUANTITY OF HAZARDOUS WASTE GENERATED BY AN ON-SITE ACTION WILL BE LESS THAN 100 KG PER MONTH. MONTHLY LIMIT FOR ACUTE HAZARDOUS WASTE IS ONE (1) KG.
HW | 3745-51-06 | A,B,C(1) | REQUIREMENTS FOR RECYCLED MATERIALS | DEFINES RECYCLED HAZARDOUS WASTES AND ESTABLISHES SPECIFIC EXEMPTIONS FOR THESE WASTES FROM THE HAZARDOUS WASTE REGULATIONS. | PERTAINS TO ANY SITE AT WHICH RECYCLING OF HAZARDOUS WASTES MAY TAKE PLACE. CONSIDER FOR SITES AT WHICH THE FOLLOWING MATERIALS ARE PRESENT: INDUSTRIAL ETHYL ALCOHOL, USED BATTERIES, USED OIL, SCRAP METAL, PETROLEUM PRODUCTS, K087 COAL AND COKE TAR SLUDGE
HW | 3745-52-11 | A-D | EVALUATION OF WASTES | ANY PERSON GENERATING A WASTE MUST DETERMINE IF THAT WASTE IS A HAZARDOUS WASTE (EITHER THROUGH LISTING OR BY CHARACTERISTIC). | PERTAINS TO SITES AT WHICH WASTES OF ANY TYPE (BOTH SOLID AND HAZARDOUS) ARE LOCATED.
HW | 3745-52-12 | A-C | GENERATOR IDENTIFICATION NUMBER | A GENERATOR MUST NOT STORE, TREAT DISPOSE OR TRANSPORT HAZARDOUS WASTES WITHOUT A GENERATOR NUMBER | PERTAINS TO SITES WHERE HAZARDOUS WASTE WILL BE TRANSPORTED OFF-SITE FOR TREATMENT, STORAGE OR DISPOSAL
HW | 3745-52-20 |  | HAZARDOUS WASTE MANIFEST - GENERAL REQUIREMENTS | REQUIRES A GENERATOR WHO TRANSPORTS OR OFFERS FOR TRANSPORTATION HAZARDOUS WASTE FOR OFF-SITE TREATMENT, STORAGE OR DISPOSAL TO PREPARE A UNIFORM HAZARDOUS WASTE MANIFEST | PERTAINS TO SITES WHERE HAZARDOUS WASTE WILL BE TRANSPORTED OFF-SITE FOR TREATMENT, STORAGE OR DISPOSAL
HW | 3745-52-22 |  | HAZARDOUS WASTE MANIFEST - NUMBER OF COPIES | SPECIFIES THE NUMBER OF MANIFEST COPIES TO BE PREPARED | PERTAINS TO SITES WHERE HAZARDOUS WASTE WILL BE TRANSPORTED OFF-SITE FOR TREATMENT, STORAGE OR DISPOSAL
HW | 3745-52-23 |  | HAZARDOUS WASTE MANIFEST - USE | SPECIFIES PROCEDURES FOR THE USE OF HAZARDOUS WASTE MANIFESTS INCLUDING A REQUIREMENT THAT THEY BE HAND SIGNED BY THE GENERATOR | PERTAINS TO SITES WHERE HAZARDOUS WASTE WILL BE TRANSPORTED OFF-SITE FOR TREATMENT, STORAGE OR DISPOSAL
HW | 3745-52-30 |  | HAZARDOUS WASTE PACKAGING | REQUIRES A GENERATOR TO PACKAGE HAZARDOUS WASTE IN ACCORDANCE WITH U.S. DOT REGULATIONS FOR TRANSPORTATION OFF-SITE. | PERTAINS TO ANY SITE WHERE HAZARDOUS WASTE WILL BE GENERATED BY ON-SITE ACTIVITIES AND SHIPPED OFF-SITE FOR TREATMENT AND/OR DISPOSAL.
HW | 3745-52-31 |  | HAZARDOUS WASTE LABELING | REQUIRES PACKAGES OF HAZARDOUS WASTE TO BE LABELED IN ACCORDANCE WITH U.S.DOT REGULATIONS FOR OFF-SITE TRANSPORTATION. | PERTAINS TO ANY SITE WHERE HAZARDOUS WASTE WILL BE GENERATED BY ON-SITE ACTIVITIES AND SHIPPED OFF-SITE FOR TREATMENT AND/OR DISPOSAL.
HW | 3745-52-32 |  | HAZARDOUS WASTE MARKING | SPECIFIES LANGUAGE FOR MARKING PACKAGES OF HAZARDOUS WASTE PRIOR TO OFF-SITE TRANSPORTATION | PERTAINS TO ANY SITE WHERE HAZARDOUS WASTE WILL BE GENERATED BY ON-SITE ACTIVITIES AND SHIPPED OFF-SITE FOR TREATMENT AND/OR DISPOSAL.
HW | 3745-52-33 |  | HAZARDOUS WASTE PLACARDING | GENERATOR SHALL PLACARD HAZARDOUS WASTE PRIOR TO OFF-SITE TRANSPORTATION. | PERTAINS TO ANY SITE WHERE HAZARDOUS WASTE WILL BE GENERATED BY ON-SITE ACTIVITIES AND SHIPPED OFF-SITE FOR TREATMENT AND/OR DISPOSAL.
HW | 3745-52-34 |  | ACCUMULATION TIME OF HAZARDOUS WASTE | IDENTIFIES MAXIMUM TIME PERIODS THAT A GENERATOR MAY ACCUMULATE A HAZARDOUS WASTE WITHOUT BEING CONSIDERED AN OPERATOR OF A STORAGE FACILITY. ALSO ESTABLISHES STANDARDS FOR MANAGEMENT OF HAZARDOUS WASTES BY GENERATORS. | PERTAINS TO A SITE WHERE HAZARDOUS WASTE WILL BE GENERATED AS A RESULT OF THE REMEDIAL ACTIVITIES.
HW | 3745-52-40 | A-D | RECORDKEEPING REQUIREMENTS, THREE YEAR RETENTION | SPECIFIES RECORDS THAT SHALL BE KEPT FOR THREE YEARS | CONSIDER FOR SITES AT WHICH HAZARDOUS WASTES ARE GENERATED
HW | 3745-52-41 | A,B | ANNUAL REPORT | REQUIRES GENERATORS TO PREPARE ANNUAL REPORT TO OEPA | APPLICABLE AT SITES GENERATING WASTES FOR OFF--SITE SHIPMENT
HW | 3745-54-13 | A | GENERAL ANALYSIS OF HAZARDOUS WASTE | PRIOR TO ANY TREATMENT, STORAGE OR DISPOSAL OF HAZARDOUS WASTES, A REPRESENTATIVE SAMPLE OF THE WASTE MUST BE CHEMICALLY AND PHYSICALLY ANALYZED. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS IS TO BE TREATED, STORED OR DISPOSED OF (OR HAS BEEN DISPOSED OF).
HW | 3745-54-14 | A,B,C | SECURITY FOR HAZARDOUS WASTE FACILITIES | HAZARDOUS WASTE FACILITIES MUST BE SECURED SO THAT UNAUTHORIZED AND UNKNOWING ENTRY ARE MINIMIZED OR PROHIBITED. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS IS TO BE TREATED, STORED OR DISPOSED OF (OR HAS BEEN DISPOSED OF).
HW | 3745-54-15 | A,C | INSPECTION REQUIREMENTS FOR HAZARDOUS WASTE FACILITIES | HAZARDOUS WASTE FACILITIES MUST BE INSPECTED REGULARLY TO DETECT MALFUNCTIONS, DETERIORATIONS, OPERATIONAL ERRORS AND DISCHARGES. ANY MALFUNCTIONS OR DETERIORATIONS DETECTED SHALL BE REMEDIED EXPEDITIOUSLY. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS IS TO BE TREATED, STORED OR DISPOSED OF (OR HAS BEEN DISPOSED OF).
HW | 3745-54-17 | A,B,C | REQ FOR IGNITABLE, REACTIVE OR INCOMPATIBLE HAZ WASTES | PRESENTS GENERAL PRECAUTIONS TO BE TAKEN TO PREVENT ACCIDENTAL IGNITION OR REACTION OF IGNITABLE, REACTIVE OR INCOMPATIBLE WASTES. | PERTAINS TO ANY SITE AT WHICH POTENTIALLY REACTIVE, IGNITABLE OR INCOMPATIBLE WASTES ARE PRESENT.
HW | 3745-54-18 | A,B,C | LOCATION STANDARDS FOR HAZARDOUS WASTE T/S/D FACILITIES | RESTRICTS THE SITING OF HAZARDOUS WASTE FACILITIES IN AREAS OF SEISMIC ACTIVITY OR FLOODPLAINS. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS IS TO BE TREATED, STORED OR DISPOSED OF (OR HAS BEEN DISPOSED OF).
HW | 3745-54-31 |  | DESIGN & OPERATION OF HAZARDOUS WASTE FACILITIES | HAZARDOUS WASTE FACILITIES MUST BE DESIGNED, CONSTRUCTED, MAINTAINED AND OPERATED TO MINIMIZE THE POSSIBILITY OF FIRE, EXPLOSION OR UNPLANNED RELEASE OF HAZARDOUS WASTE OR HAZARDOUS CONSTITUENTS TO THE AIR, SOIL OR SURFACE WATER WHICH COULD THREATEN HUMAN HEALTH OR THE ENVIRONMENT. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS IS TO BE TREATED, STORED OR DISPOSED OF (OR HAS BEEN DISPOSED OF).
HW | 3745-54-32 | A,B,C,D | REQUIRED EQUIPMENT FOR HAZARDOUS WASTE FACILITIES | ALL HAZARDOUS WASTE FACILITIES MUST BE EQUIPPED WITH EMERGENCY EQUIPMENT, SUCH AS AN ALARM SYSTEM, FIRE CONTROL EQUIPMENT AND A TELEPHONE OR RADIO. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS IS TO BE TREATED, STORED OR DISPOSED OF (OR HAS BEEN DISPOSED OF). SPECIFICATIONS
HW | 3745-54-33 |  | TESTING & MAINTENANCE OF EQUIPMENT; HAZ WASTE FACILITIES | ALL HAZARDOUS WASTE FACILITIES MUST TEST AND MAINTAIN EMERGENCY EQUIPMENT TO ASSURE PROPER OPERATION. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTE IS TO BE TREATED, STORED OR DISPOSED OF (OR HAS BEEN DISPOSED OF).
HW | 3745-54-34 |  | ACCESS TO COMMUNICATIONS OR ALARM SYSTEM; HAZ WASTE FAC | WHENEVER HAZARDOUS WASTE IS BEING HANDLED, ALL PERSONNEL INVOLVED SHALL HAVE IMMEDIATE ACCESS TO AN INTERNAL ALARM OR EMERGENCY COMMUNICATION DEVICE. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTE IS TO BE TREATED, STORED OR DISPOSED OF (OR HAS BEEN DISPOSED OF).
HW | 3745-54-35 |  | REQUIRED AISLE SPACE AT HAZ WASTE FACILITIES | ADEQUATE AISLE SPACE SHALL BE MAINTAINED TO ALLOW UNOBSTRUCTED MOVEMENT OF PERSONNEL, FIRE EQUIPMENT, SPILL CONTROL EQUIPMENT AND DECONTAMINATION EQUIPMENT INTO ANY AREA OF THE FACILITY OPERATION IN THE EVENT OF AN EMERGENCY. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTE IS TO BE TREATED, STORED OR DISPOSED OF (OR HAS BEEN DISPOSED OF). CONSIDER FOR SITES WHERE WASTES WILL BE STORED IN CONTAINERS.
HW | 3745-54-37 | A,B | ARRANGEMENTS/ AGREEMENTS WITH LOCAL AUTHORITIES | ARRANGEMENTS OR AGREEMENTS WITH LOCAL AUTHORITIES, SUCH AS POLICE, FIRE DEPARTMENT AND EMERGENCY RESPONSE TEAMS MUST BE MADE. IF LOCAL AUTHORITIES WILL NOT COOPERATE, DOCUMENTATION OF THAT NON-COOPERATION SHOULD BE PROVIDED. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTE IS TO BE TREATED, STORED OR DISPOSED OF (OR HAS BEEN DISPOSED OF).
HW | 3745-54-52 | A-F | CONTENT OF CONTINGENCY PLAN; HAZ WASTE FACILITIES | HAZARDOUS WASTE FACILITIES MUST HAVE A CONTINGENCY PLAN THAT ADDRESSES ANY UNPLANNED RELEASE OF HAZARDOUS WASTES OR HAZARDOUS CONSTITUENTS INTO THE AIR, SOIL OR SURFACE WATER. THIS RULE ESTABLISHES THE MINIMUM REQUIRED INFORMATION OF SUCH A PLAN. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTE IS TO BE TREATED, STORED OR DISPOSED OF (OR HAS BEEN DISPOSED OF).
HW | 3745-54-53 | A,B | COPIES OF CONTINGENCY PLAN; HAZARDOUS WASTE FACILITIES | COPIES OF THE CONTINGENCY PLAN REQUIRED BY 3745-54-50 MUST BE MAINTAINED AT THE FACILITY AND SUBMITTED TO ALL LOCAL POLICE DEPARTMENTS, FIRE DEPARTMENTS, HOSPITALS LOCAL EMERGENCY RESPONSE TEAMS AND THE OHIO EPA. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTE IS TO BE TREATED, STORED OR DISPOSED OF (OR HAS BEEN DISPOSED OF)
HW | 3745-54-54 | A | AMENDMENT OF CONTINGENCY PLAN; HAZ WASTE FACILITIES | THE CONTINGENCY PLAN MUST BE AMENDED IF IT FAILS IN AN EMERGENCY, THE FACILITY CHANGES (IN ITS DESIGN, CONSTRUCTION, MAINTENANCE OR OPERATION), THE LIST OF EMERGENCY COORDINATORS CHANGE OR THE LIST OF EMERGENCY EQUIPMENT. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTE IS TO BE TREATED, STORED OR DISPOSED OF (OR HAS BEEN DISPOSED OF).
HW | 3745-54-55 |  | EMERGENCY COORDINATOR; HAZARDOUS WASTE FACILITIES | AT ALL TIMES THERE SHOULD BE AT LEAST ONE EMPLOYEE EITHER ON THE PREMISES OR ON CALL TO COORDINATE ALL EMERGENCY RESPONSE MEASURES. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTE IS TO BE TREATED, STORED OR DISPOSED OF (OR HAS BEEN DISPOSED OF).
HW | 3745-54-56 | A-I | EMERGENCY PROCEDURES; HAZARDOUS WASTE FACILITIES | SPECIFIES THE PROCEDURES TO BE FOLLOWED IN THE EVENT OF AN EMERGENCY. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTE IS TO BE TREATED, STORED OR DISPOSED OF (OR HAS BEEN DISPOSED OF).
HW | 3745-54-73 | A,B | OPERATING RECORD | SPECIFIES RECORDS TO BE KEPT AT TSD FACILITIES | CONSIDER FOR SITES WITH ON-SITE TREATMENT, STORAGE OR DISPOSAL
HW | 3745-54-77 | A | ADDITIONAL REPORTS | REQUIRES FACILITIES TO REPORT FIRES, EXPLOSIONS OR OTHER MISHAPS | CONSIDER AT SITES WITH TREATMENT, STORAGE OR DISPOSAL ON-SITE
HW | 3745-54-90 |  | GROUND WATER PROTECTION; APPLICABILITY | ESTABLISHES CIRCUMSTANCES UNDER WHICH AN OPERATOR OF A HAZARDOUS WASTE FACILITY MUST IMPLEMENT A GROUND WATER PROTECTION PROGRAM OR A CORRECTIVE ACTION PROGRAM. | PERTAINS TO ALL SITES WITH LAND-BASED HAZARDOUS WASTE UNITS (SURFACE IMPOUNDMENTS, WASTE PILES, LAND TREATMENT UNITS, LANDFILLS ). THIS INCLUDES EXISTING LAND-BASED AREAS OF CONTAMINATION.
HW | 3745-54-91 | A | REQ GROUND WATER PROGRAMS FOR HAZ WASTE FACILITIES | PRESENTS THE GROUND WATER MONITORING AND RESPONSE PROGRAMS REQUIRED FOR HAZARDOUS WASTE LAND-BASED UNITS. | PERTAINS TO ALL SITES WITH LAND-BASED HAZARDOUS WASTE UNITS (SURFACE IMPOUNDMENTS, WASTE PILES, LAND TREATMENT UNITS, LANDFILLS). THIS INCLUDES EXISTING LAND-BASED AREAS OF CONTAMINATION.
HW | 3745-54-92 |  | GROUND WATER PROTECTION STANDARD; HAZ WASTE FACILITIES | COMPLIANCE MUST BE ATTAINED WITH THE CONDITIONS SPECIFIED IN THE PERMIT TO ENSURE THAT HAZARDOUS CONSTITUENTS (SEE 3745-54-93) DO NOT EXCEED THE PROMULGATED LIMITS (SEE 3745-54-94). | PERTAINS TO ALL SITES WITH LAND-BASED HAZARDOUS WASTE UNITS (SURFACE IMPOUNDMENTS, WASTE PILES, LAND TREATMENT UNITS, LANDFILLS). THIS INCLUDES EXISTING LAND-BASED AREAS OF CONTAMINATION.
HW | 3745-54-95 | A,B | POINT OF COMPLIANCE FOR GROUND WATER; HAZ WASTE FACIL | ESTABLISHES POINT OF COMPLIANCE AT VERTICAL SURFACE LOCATED AT THE HYDRAULICALLY DOWNGRADIENT LIMIT OF THE WASTE MANAGEMENT AREA THAT EXTENDS DOWN INTO THE UPPERMOST AQUIFER UNDERLYING THE UNIT(S). | PERTAINS TO ALL SITES WITH LAND-BASED HAZARDOUS WASTE UNITS (SURFACE IMPOUNDMENTS, WASTE PILES, LAND TREATMENT UNITS, LANDFILLS). THIS INCLUDES EXISTING LAND-BASED AREAS OF CONTAMINATION.
HW | 3745-54-96 | A,B,C | COMPLIANCE PERIOD FOR GROUND WATER; HAZ WASTE FACIL | COMPLIANCE PERIOD DURING WHICH THE GROUND WATER PROTECTION STANDARDS APPLY WILL BE SPECIFIED IN THE PERMIT. RULE REQUIRES THAT THE COMPLIANCE PERIOD FOR A FACILITY UNDERGOING A CORRECTIVE ACTION PROGRAM WILL EXTEND UNTIL IT CAN BE DEMONSTRATED THAT THE GROUND WATER PROTECTION STANDARD OF OAC 3745-54-92 HAS NOT BEEN EXCEEDED FOR A PERIOD OF THREE CONSECUTIVE YEARS. | PERTAINS TO ALL SITES WITH LAND-BASED HAZARDOUS WASTE UNITS (SURFACE IMPOUNDMENTS, WASTE PILES, LAND TREATMENT UNITS, LANDFILLS). THIS INCLUDES EXISTING LAND-BASED AREAS OF CONTAMINATION.
HW | 3745-54-97 | A-H | GEN GROUND WATER MONITORING REQUIREMENTS; HAZ WASTE FAC | PRESENTS GENERAL GROUND WATER MONITORING PROGRAM REQUIREMENTS. INCLUDES NUMBER, LOCATION AND DEPTH OF WELLS, CASING REQUIREMENTS, SAMPLING AND ANALYSIS PROCEDURES, ETC. | PERTAINS TO ALL SITES WITH LAND-BASED HAZARDOUS WASTE UNITS (SURFACE IMPOUNDMENTS, WASTE PILES, LAND TREATMENT UNITS, LANDFILLS). THIS INCLUDES EXISTING LAND-BASED AREAS OF CONTAMINATION.
HW | 3745-54-98 | A-I | GROUND WATER DETECTION MONITORING PROG; HAZ WASTE FAC | PRESENTS REQUIREMENTS OF GROUND WATER DETECTION PROGRAM. | PERTAINS TO ALL SITES WITH LAND-BASED HAZARDOUS WASTE UNITS (SURFACE IMPOUNDMENTS, WASTE PILES, LAND TREATMENT UNITS, LANDFILLS) AT WHICH HAZARDOUS CONSTITUENTS HAVE NOT BEEN DETECTED IN THE GROUND WATER. THIS INCLUDES EXISTING LAND-BASED AREAS OF CONTAMINATION.
HW | 3745-54-99 | A-J | GROUND WATER COMPLIANCE MONITORING PROG; HAZ WASTE FAC | PRESENTS REQUIREMENTS OF GROUND WATER COMPLIANCE MONITORING PROGRAM. | PERTAINS TO ALL SITES WITH LAND-BASED HAZARDOUS WASTE UNITS (SURFACE IMPOUNDMENTS, WASTE PILES, LAND TREATMENT UNITS, LANDFILLS) AT WHICH HAZARDOUS CONSTITUENTS HAVE BEEN DETECTED. THIS INCLUDES EXISTING LAND-BASED AREAS OF CONTAMINATION.
HW | 3745-55-01 | A-F | GROUND WATER CORRECTIVE ACTION PROGRAM; HAZ WASTE FAC | PRESENTS THE REQUIREMENTS OF A GROUND WATER CORRECTIVE ACTION PROGRAM THAT PREVENTS HAZARDOUS CONSTITUENTS FROM EXCEEDING THEIR RESPECTIVE CONCENTRATION LIMITS AT THE COMPLIANCE POINT BY EITHER REMOVAL OR TREATMENT OF THESE HAZARDOUS CONSTITUENTS. | PERTAINS TO ALL SITES WITH LAND-BASED HAZARDOUS WASTE UNITS (SURFACE IMPOUNDMENTS, WASTE PILES, LAND TREATMENT UNITS, LANDFILLS) AT WHICH HAZARDOUS CONSTITUENTS HAVE BEEN DETECTED. THIS INCLUDES EXISTING LAND-BASED AREAS OF CONTAMINATION.
HW | 3745-55-011 | A,C | CORRECTIVE ACTION FOR WASTE MANAGEMENT UNITS | REQUIRES AN APPLICANT FOR A HAZARDOUS WASTE PERMIT TO INSTITUTE CORRECTIVE ACTION FOR ALL RELEASES OF HAZARDOUS WASTE OR CONSTITUENTS FROM ANY WASTE MANAGEMENT UNIT, REGARDLESS OF THE TIME AT WHICH WASTE WAS PLACED IN SUCH UNIT. | PERTAINS TO ALL SITES WITH LAND-BASED HAZARDOUS WASTE UNITS (SURFACE IMPOUNDMENTS, WASTE PILES, LAND TREATMENT UNITS, LANDFILLS) AT WHICH HAZARDOUS CONSTITUENTS HAVE BEEN DETECTED. THIS INCLUDES EXISTING LAND-BASED AREAS OF CONTAMINATION.
HW | 3745-55-11 | A,B,C | GENERAL CLOSURE PERFORMANCE STANDARD; HAZ WASTE FACIL | REQUIRES THAT ALL HAZARDOUS WASTE FACILITIES BE CLOSED IN A MANNER THAT MINIMIZES THE NEED FOR FURTHER MAINTENANCE, CONTROLS, MINIMIZES, ELIMINATES OR PREVENTS POST-CLOSURE ESCAPE OF HAZARDOUS WASTE, HAZARDOUS CONSTITUENTS, LEACHATE, CONTAMINATED RUN-OFF OR HAZARDOUS WASTE DECOMPOSITION PRODUCTS TO THE GROUND OR SURFACE WATER OR THE ATMOSPHERE. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTE IS TO BE TREATED, STORED OR DISPOSED OF (OR HAS BEEN TREATED, STORED OR DISPOSED OF).
HW | 3745-55-12 | B | CONTENT OF CLOSURE PLAN; HAZ WASTE FACILITIES | SPECIFIES THE MINIMUM INFORMATION REQUIRED IN A CLOSURE PLAN FOR OHIO EPA TO DETERMINE THE ADEQUACY OF THE PLAN. | SUBSTANTIVE REQUIREMENTS PERTAIN TO ANY SITE AT WHICH HAZARDOUS WASTE IS TO BE TREATED, STORED OR DISPOSED OF (OR HAS BEEN TREATED, STORED OR DISPOSED OF).
HW | 3745-55-14 |  | DISPOSAL/ DECON OF EQUIPMENT, STRUCTURES & SOILS | REQUIRES THAT ALL CONTAMINATED EQUIPMENT, STRUCTURES AND SOILS BE PROPERLY DISPOSED OF OR DECONTAMINATED. REMOVAL OF HAZARDOUS WASTES OR CONSTITUENTS FROM A UNIT MAY CONSTITUTE GENERATION OF HAZARDOUS WASTES. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTE IS TO BE TREATED, STORED OR DISPOSED OF (OR HAS BEEN TREATED, STORED OR DISPOSED OF).
HW | 3745-55-17 | B | POST-CLOSURE CARE AND USE OF PROPERTY | SPECIFIES THE POST-CLOSURE CARE REQUIREMENTS, INCLUDING MAINTENANCE, MONITORING AND POST-CLOSURE USE OF PROPERTY. | PERTAINS TO ALL SITES WITH LAND-BASED HAZARDOUS WASTE UNITS (LANDFILLS AND SURFACE IMPOUNDMENTS, WASTE PILES, LAND TREATMENT UNITS AND TANKS THAT MEET REQUIREMENTS OF LANDFILLS AFTER CLOSURE). THIS INCLUDES EXISTING LAND-BASED AREAS OF CONTAMINATION.
HW | 3745-55-18 | B | POST-CLOSURE PLAN | PRESENTS THE INFORMATION NECESSARY FOR OHIO EPA TO DETERMINE THE ADEQUACY OF A POST-CLOSURE PLAN. | PERTAINS TO ALL SITES WITH LAND-BASED HAZARDOUS WASTE UNITS (LANDFILLS AND SURFACE IMPOUNDMENTS, WASTE PILES, LAND TREATMENT UNITS AND TANKS THAT MEET REQUIREMENTS OF LANDFILLS AFTER CLOSURE). THIS INCLUDES EXISTING LAND-BASED AREAS OF CONTAMINATION.
HW | 3745-55-19 | B | NOTICE TO LOCAL LAND AUTHORITY | REQUIRES THAT A RECORD OF THE TYPE, LOCATION AND QUANTITY OF HAZARDOUS WASTES DISPOSED OF IN EACH UNIT BE SUBMITTED TO THE LOCAL LAND AUTHORITY AND THE DIRECTOR OF THE OHIO EPA. ALSO REQUIRES THAT A NOTATION TO THE DEED TO THE FACILITY PROPERTY BE MADE INDICATING THAT THE LAND WAS USED TO MANAGE HAZARDOUS WASTES AND THAT CERTAIN USE RESTRICTIONS MAY APPLY TO THE PROPERTY. | PERTAINS TO ALL SITES WITH LAND-BASED HAZARDOUS WASTE UNITS (LANDFILLS AND SURFACE IMPOUNDMENTS, WASTE PILES, LAND TREATMENT UNITS AND TANKS THAT MEET REQUIREMENTS OF LANDFILLS AFTER CLOSURE). THIS INCLUDES EXISTING LAND-BASED AREAS OF CONTAMINATION.
HW | 3745-55-71 |  | CONDITION OF CONTAINERS | CONTAINERS HOLDING HAZARDOUS WASTE MUST BE MAINTAINED IN GOOD CONDITION (NO RUST OR STRUCTURAL DEFECTS). | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTE WILL BE STORED IN CONTAINERS.
HW | 3745-55-72 |  | COMPATIBILITY OF WASTE WITH CONTAINERS | HAZARDOUS WASTES PLACED IN CONTAINER MUST NOT REACT WITH THE CONTAINER MATERIAL OR LINER MATERIAL. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTE WILL BE STORED IN CONTAINERS.
HW | 3745-55-73 |  | MANAGEMENT OF CONTAINERS | CONTAINERS HOLDING HAZARDOUS WASTE MUST BE CLOSED (EXCEPT TO ADD OR REMOVE WASTE) AND MUST NOT BE HANDLED IN A MANNER THAT MAY RUPTURE THE CONTAINER OR CAUSE IT TO LEAK. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTE WILL BE STORED IN CONTAINERS.
HW | 3745-55-74 |  | CONTAINER INSPECTIONS | REQUIRES AT LEAST WEEKLY INSPECTIONS OF CONTAINER STORAGE AREAS. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTE WILL BE STORED IN CONTAINERS.
HW | 3745-55-75 | A,B,C,D | CONTAINER STORAGE AREA CONTAINMENT SYSTEM | REQUIRES THAT CONTAINER STORAGE AREAS HAVE A CONTAINMENT SYSTEM AND SPECIFIES THE MINIMUM REQUIREMENTS OF SUCH A SYSTEM. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTE WILL BE STORED IN CONTAINERS.
HW | 3745-55-76 |  | CONTAINER REQUIREMENTS FOR IGNITABLE/REACTIVE WASTES | PRESENTS GENERAL PRECAUTIONS TO BE TAKEN TO PREVENT ACCIDENTAL IGNITION OR REACTION OF IGNITABLE OR REACTIVE WASTES THAT WILL BE STORED IN CONTAINERS. | PERTAINS TO ANY SITE AT WHICH POTENTIALLY REACTIVE OR IGNITABLE WASTES THAT ARE STORED, OR ARE TO BE STORED, IN CONTAINERS.
HW | 3745-55-77 | A,B,C | CONTAINER REQUIREMENTS FOR INCOMPATIBLE WASTES | PRESENTS GENERAL PRECAUTIONS TO BE TAKEN WHEN DEALING WITH INCOMPATIBLE WASTES. | PERTAINS TO ANY SITE AT WHICH POTENTIALLY INCOMPATIBLE WASTES ARE PRESENT.
HW | 3745-55-78 |  | CONTAINER CLOSURE REQUIREMENTS | SPECIFIES CLOSURE REQUIREMENTS FOR CONTAINERS AND CONTAINMENT SYSTEM. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTE WILL BE STORED IN CONTAINERS.
HW | 3745-55-91 | A,B,D | ASSESSMENT OF EXISTING TANK SYSTEMS INTEGRITY | REQUIRES THAT EACH EXISTING TANK USED TO STORE OR TREAT HAZARDOUS WASTE THAT DOES NOT HAVE SECONDARY CONTAINMENT BE TESTED TO ASSURE TANK INTEGRITY. | PERTAINS TO ANY SITE WHICH HAS EXISTING HAZARDOUS WASTE TREATMENT OR STORAGE TANKS THAT LACK SECONDARY CONTAINMENT.
HW | 3745-55-92 | A-G | DESIGN & INSTALLATION OF NEW TANK SYSTEMS OR COMPONENTS | REQUIRES A SECONDARY CONTAINMENT SYSTEM FOR TANKS AND ASSESSMENT TO DETERMINE TANK INTEGRITY. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTE WILL BE EITHER STORED OR TREATED IN TANKS.
HW | 3745-55-93 | A-G,I | CONTAINMENT AND DETECTION OF RELEASES FOR TANK SYSTEMS | REQUIRES SECONDARY CONTAINMENT AND LEAK DETECTION SYSTEMS FOR TANKS. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTE WILL BE EITHER STORED OR TREATED IN TANKS.
HW | 3745-55-94 | A,B,C | GENERAL OPERATING REQUIREMENTS FOR TANK SYSTEMS | SPECIFIES GENERAL OPERATING REQUIREMENTS FOR TANK SYSTEMS. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTE WILL BE EITHER STORED OR TREATED IN TANKS.
HW | 3745-55-95 | A-D | INSPECTIONS OF TANK SYSTEMS | REQUIRES INSPECTIONS AT LEAST ONCE EACH OPERATING DAY. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTE WILL BE EITHER STORED OR TREATED IN TANKS.
HW | 3745-55-96 | A,B,C,E | RESPONSE TO LEAKS OR SPILLS OF TANK SYSTEMS | REQUIRES THAT UNFIT TANKS BE REMOVED FROM USE AND FURTHER RELEASES BE PREVENTED. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTE WILL BE EITHER STORED OR TREATED IN TANKS.
HW | 3745-55-97 | A,B | CLOSURE AND POST-CLOSURE CARE FOR TANK SYSTEMS | SPECIFIES CLOSURE AND POST-CLOSURE REQUIREMENTS FOR TANK SYSTEMS. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTE WILL BE EITHER STORED OR TREATED IN TANKS. SPECIFIES THE MINIMUM INFORMATION REQUIRED.
HW | 3745-55-98 |  | TANK REQUIREMENTS FOR IGNITABLE/REACTIVE WASTES | PRESENTS GENERAL PRECAUTIONS TO BE TAKEN TO PREVENT ACCIDENTAL IGNITION OR REACTION OF IGNITABLE OR REACTIVE WASTES THAT ARE TREATED OR STORED IN TANKS. | PERTAINS TO ANY SITE AT WHICH POTENTIALLY REACTIVE OR IGNITABLE WASTES ARE STORED OR TREATED (OR TO BE STORED OR TREATED) IN EXISTING TANKS.
HW | 3745-55-99 | A,B | TANK REQUIREMENTS FOR INCOMPATIBLE WASTES | PRESENTS GENERAL PRECAUTIONS TO BE TAKEN WHEN DEALING WITH POTENTIALLY INCOMPATIBLE WASTES THAT ARE STORED OR TREATED IN TANKS. | PERTAINS TO ANY SITE AT WHICH POTENTIALLY INCOMPATIBLE WASTES ARE STORED OR TREATED (OR TO BE STORED OR TREATED) IN TANKS.
HW | 3745-56-20 | A,B | APPLICABILITY OF RULES CONCERNING SURFACE IMPOUNDMENT | SPECIFIES THAT THE RULES OF 3745-56 SHALL APPLY TO SURFACE IMPOUNDMENTS USED TO TREAT OR STORE HAZARDOUS WASTES | CONSIDER FOR SITES WITH SURFACE IMPOUNDMENTS
HW | 3745-56-21 | A-G | DESIGN & OPERATING REQUIREMENTS ; SURFACE IMPOUNDMENTS | PRESENTS DESIGN AND OPERATING CRITERIA FOR SURFACE IMPOUNDMENTS. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTE WILL BE TREATED OR STORED IN SURFACE IMPOUNDMENTS (LAGOONS). PERTAINS TO SITES WHICH HAVE SURFACE IMPOUNDMENTS THAT WILL NOT BE (OR HAVE NOT BEEN) CLEAN CLOSED.
HW | 3745-56-26 | A,B,C | MONITORING & INSPECTION OF SURFACE IMPOUNDMENTS | REQUIRES INSPECTION OF LINERS DURING CONSTRUCTION. ALSO REQUIRES WEEKLY AND AFTER STORM INSPECTIONS. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTE WILL BE TREATED OR STORED IN SURFACE IMPOUNDMENTS (LAGOONS). PERTAINS TO SITES WHICH HAVE SURFACE IMPOUNDMENTS THAT WILL NOT BE (OR HAVE NOT BEEN) CLEAN CLOSED.
HW | 3745-56-27 | A-E | EMERGENCY REPAIRS & CONTINGENCY PLANS ; SURFACE IMPOUND | SPECIFIES WHEN AND HOW SURFACE IMPOUNDMENTS SHOULD BE REMOVED FROM SERVICE FOR REPAIRS. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTE WILL BE TREATED OR STORED IN SURFACE IMPOUNDMENTS (LAGOONS). PERTAINS TO SITES WHICH HAVE SURFACE IMPOUNDMENTS THAT WILL NOT BE (OR HAVE NOT BEEN) CLEAN CLOSED.
HW | 3745-56-28 | A,B,C | CLOSURE & POST-CLOSURE OF SURFACE IMPOUNDMENTS | PROVIDES CLOSURE AND POST-CLOSURE REQUIREMENTS FOR SURFACE IMPOUNDMENTS. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTE WILL BE TREATED OR STORED IN SURFACE IMPOUNDMENTS (LAGOONS). PERTAINS TO SITES WHICH HAVE SURFACE IMPOUNDMENTS THAT WILL NOT BE (OR HAVE NOT BEEN) CLEAN CLOSED.
HW | 3745-56-29 | A,B | SURFACE IMP. REQUIREMENTS FOR IGNITABLE/REACTIVE WASTES | PRESENTS GENERAL PRECAUTIONS TO BE TAKEN WHEN DEALING WITH POTENTIALLY IGNITABLE OR REACTIVE WASTES THAT ARE STORED OR TREATED IN SURFACE IMPOUNDMENTS. | PERTAINS TO ANY SITE AT WHICH POTENTIALLY IGNITABLE OR REACTIVE HAZARDOUS WASTE WILL BE TREATED OR STORED IN SURFACE IMPOUNDMENTS (LAGOONS). PERTAINS TO SITES WHICH HAVE SURFACE IMPOUNDMENTS THAT WILL NOT BE (OR HAVE NOT BEEN) CLEAN CLOSED.
HW | 3745-56-30 |  | SURFACE IMPOUND. REQUIREMENTS FOR INCOMPATIBLE WASTES | PRESENTS GENERAL PRECAUTIONS TO BE TAKEN WHEN DEALING WITH POTENTIALLY INCOMPATIBLE WASTES THAT ARE STORED OR TREATED IN SURFACE IMPOUNDMENTS. | PERTAINS TO ANY SITE AT WHICH POTENTIALLY INCOMPATIBLE HAZARDOUS WASTE WILL BE TREATED OR STORED IN SURFACE IMPOUNDMENTS (LAGOONS). PERTAINS TO SITES WHICH HAVE SURFACE IMPOUNDMENTS THAT WILL NOT BE (OR HAVE NOT BEEN) CLEAN CLOSED.
HW | 3745-56-33 | A,B | SPECIAL REQUIREMENTS FOR "F" WASTES IN SURFACE IMPOUND. | PROHIBITS THE PLACEMENT OF HAZARDOUS WASTES F020, F021, F022, F023, F026 AND F027 IN SURFACE IMPOUNDMENTS. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS F-WASTE ARE TREATED OR STORED IN SURFACE IMPOUNDMENTS (LAGOONS). PERTAINS TO SITES WHICH HAVE SURFACE IMPOUNDMENTS THAT WILL NOT BE (OR HAVE NOT BEEN) CLEAN CLOSED.
HW | 3745-56-51 | A-F | DESIGN & OPERATING REQUIREMENTS FOR WASTE PILES | SPECIFIES THE DESIGN AND OPERATION REQUIREMENTS FOR WASTE PILES. INCLUDES LINER SYSTEM, LEACHATE COLLECTION AND REMOVAL SYSTEM, WIND DISPERSAL PREVENTION AND RUN-ON/RUN-OFF CONTROL. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTE WILL BE EITHER STORED OR TREATED IN WASTE PILES.
HW | 3745-56-54 | A,B | MONITORING & INSPECTION OF WASTE PILES | WASTE PILES MUST BE MONITORED DURING CONSTRUCTION OR INSTALLATION AND OPERATION. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTE WILL BE EITHER STORED OR TREATED IN WASTE PILES.
HW | 3745-56-56 | A,B | WASTE PILE REQUIREMENTS FOR IGNITABLE/ REACTIVE WASTES | PRESENTS GENERAL PRECAUTIONS TO BE TAKEN WHEN DEALING WITH POTENTIALLY IGNITABLE OR REACTIVE HAZARDOUS WASTES THAT ARE STORED OR TREATED IN WASTE PILES. | PERTAINS TO ANY SITE AT WHICH POTENTIALLY IGNITABLE OR REACTIVE HAZARDOUS WASTE WILL BE EITHER STORED OR TREATED IN WASTE PILES.
HW | 3745-56-57 | A,B,C | WASTE PILE REQUIREMENTS FOR INCOMPATIBLE WASTES | PRESENTS GENERAL PRECAUTIONS TO BE TAKEN WHEN DEALING WITH POTENTIALLY INCOMPATIBLE WASTES THAT ARE STORED OR TREATED IN WASTE PILES. | PERTAINS TO ANY SITE AT WHICH POTENTIALLY INCOMPATIBLE HAZARDOUS WASTE WILL BE EITHER STORED OR TREATED IN WASTE PILES.
HW | 3745-56-58 | A,B,C | CLOSURE & POST-CLOSURE CARE FOR WASTE PILES | SPECIFIES CLOSURE AND POST-CLOSURE CARE REQUIREMENTS FOR WASTE PILES. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTE WILL BE EITHER STORED OR TREATED IN WASTE PILES.
HW | 3745-56-60 | A,B | SPECIAL REQUIREMENTS FOR "F" WASTES IN WASTE PILES | PROHIBITS THE PLACEMENT OF HAZARDOUS WASTES F020, F021, F022, F023, F026 AND F027 IN WASTE PILES. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS F-WASTES WILL BE EITHER STORED OR TREATED IN WASTE PILES.
HW | 3745-56-71 | A,C | LAND TREATMENT PROGRAM | A LAND TREATMENT PROGRAM MUST BE DESIGNED TO ENSURE THAT HAZARDOUS CONSTITUENTS PLACED IN OR ON THE TREATMENT ZONE ARE DEGRADED, TRANSFORMED OR IMMOBILIZED WITHIN THE TREATMENT ZONE. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTES WILL BE TREATED OR DISPOSED OF IN LAND TREATMENT UNITS.
HW | 3745-56-72 | A,C | LAND TREATMENT DEMONSTRATION | PRIOR TO THE ACTUAL LAND TREATMENT PROGRAM, A DEMONSTRATION (FIELD OR LABORATORY TESTS) MUST BE CONDUCTED. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTES WILL BE TREATED OR DISPOSED OF IN LAND TREATMENT UNITS.
HW | 3745-56-73 | A-G | LAND TREATMENT DESIGN AND OPERATING REQUIREMENTS | A LAND TREATMENT UNIT MUST BE DESIGNED, CONSTRUCTED, OPERATED AND MAINTAINED TO MAXIMIZE DEGRADATION, TRANSFORMATION AND IMMOBILIZATION OF HAZARDOUS CONSTITUENTS IN THE TREATMENT ZONE. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTES WILL BE TREATED OR DISPOSED OF IN LAND TREATMENT UNITS.
HW | 3745-56-76 | A-C,E | LAND TREATMENT FOOD-CHAIN CROPS | FOOD CHAIN CROPS MAY ONLY BE GROWN IN OR ON THE TREATMENT ZONE IF ALLOWED BY THE DIRECTOR. THE CRITERIA FOR THE DIRECTOR TO MAKE THIS DECISION ARE PROVIDED IN THIS RULE. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTES WILL BE TREATED OR DISPOSED OF IN LAND TREATMENT UNITS.
HW | 3745-56-78 | A-F | LAND TREATMENT UNSATURATED ZONE MONITORING | AN UNSATURATED ZONE MONITORING PROGRAM MUST BE ESTABLISHED FOR ALL LAND TREATMENT UNITS. THE REQUIREMENTS OF THIS PROGRAM ARE PRESENTED BY THIS RULE. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTES WILL BE TREATED OR DISPOSED OF IN LAND TREATMENT UNITS.
HW | 3745-56-80 | A-E | LAND TREATMENT CLOSURE & POST-CLOSURE CARE | ESTABLISHES CLOSURE AND POST-CLOSURE REQUIREMENTS FOR LAND TREATMENT UNITS. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS WASTES WILL BE TREATED OR DISPOSED OF IN LAND TREATMENT UNITS.
HW | 3745-56-81 | A,B | LAND TREATMENT REQUIREMENTS; IGNITABLE/REACTIVE WASTES | PROHIBITS THE APPLICATION OF IGNITABLE OR REACTIVE WASTE TO THE TREATMENT ZONE, EXCEPT UNDER CERTAIN CIRCUMSTANCES. | PERTAINS TO ANY SITE AT WHICH POTENTIALLY IGNITABLE OR REACTIVE HAZARDOUS WASTES WILL BE TREATED OR DISPOSED OF IN LAND TREATMENT UNITS.
HW | 3745-56-82 |  | LAND TREATMENT REQUIREMENTS FOR INCOMPATIBLE WASTES | PROHIBITS THE PLACEMENT OF INCOMPATIBLE WASTE IN OR ON THE TREATMENT ZONE. | PERTAINS TO ANY SITE AT WHICH POTENTIALLY INCOMPATIBLE HAZARDOUS WASTES WILL BE TREATED OR DISPOSED OF IN LAND TREATMENT UNITS.
HW | 3745-56-83 | A,B | SPECIAL REQUIREMENTS FOR "F" WASTES IN LAND TREATMENT | PROHIBITS THE PLACEMENT OF HAZARDOUS WASTES F020, F021, F022, F023, F026 AND F027 IN LAND TREATMENT UNITS. | PERTAINS TO ANY SITE AT WHICH HAZARDOUS F-WASTES ARE TO BE TREATED OR DISPOSED OF IN LAND TREATMENT UNITS.
HW | 3745-57-01 | A-D | ENVIRONMENTAL PERFORMANCE STANDARDS; LAND-BASED UNITS | SPECIFIES LOCATION, DESIGN, CONSTRUCTION, OPERATION, MAINTENANCE AND CLOSURE REQUIREMENTS FOR LANDFILLS, WASTE PILES, SURFACE IMPOUNDMENTS AND UNDERGROUND INJECTION WELLS. | PERTAINS TO ALL SITES THAT EITHER HAVE OR WILL HAVE AT LEAST ONE OF THE FOLLOWING UNITS ON-SITE: LANDFILLS, WASTE PILES, SURFACE IMPOUNDMENTS, LAND TREATMENT FACILITIES AND UNDERGROUND INJECTION WELLS (THIS INCLUDES EXISTING LAND-BASED AREAS OF CONTAMINATION).
HW | 3745-57-03 | A-I | LANDFILL DESIGN AND OPERATING REQUIREMENTS | PRESENTS DESIGN AND OPERATING REQUIREMENTS FOR LANDFILLS. INCLUDES LINER, LEACHATE COLLECTION AND REMOVAL, RUN-ON/RUN-OFF CONTROL, ETC. | PERTAINS TO ALL SITES AT WHICH A HAZARDOUS WASTE LANDFILL WILL EITHER BE LOCATED OR AN EXISTING LANDFILL WILL BE EXPANDED. THIS RULE ALSO PERTAINS TO EXISTING LAND-BASED AREAS OF CONTAMINATION.
HW | 3745-57-05 | A,B | MONITORING AND INSPECTIONS OF LANDFILLS | REQUIRES INSPECTION OF LANDFILLS DURING CONSTRUCTION OR INSTALLATION AND OPERATION. | PERTAINS TO ALL SITES AT WHICH A HAZARDOUS WASTE LANDFILL WILL EITHER BE LOCATED OR AN EXISTING LANDFILL WILL BE EXPANDED. THIS RULE PERTAINS TO EXISTING LAND-BASED AREAS OF CONTAMINATION.
HW | 3745-57-10 | A,B | LANDFILL CLOSURE AND POST-CLOSURE CARE | SPECIFIES CLOSURE AND POST-CLOSURE REQUIREMENTS FOR HAZARDOUS WASTE LANDFILLS. INCLUDES FINAL COVER AND MAINTENANCE. | PERTAINS TO ALL SITES AT WHICH A HAZARDOUS WASTE LANDFILL WILL EITHER BE LOCATED OR AN EXISTING LANDFILL WILL BE EXPANDED. THIS RULE PERTAINS TO EXISTING LAND-BASED AREAS OF CONTAMINATION.
HW | 3745-57-12 | A,B | LANDFILL REQUIREMENTS FOR IGNITABLE/REACTIVE WASTES | PROHIBITS THE DISPOSAL OF IGNITABLE OR REACTIVE WASTE IN A LANDFILL, UNLESS THE WASTE IS TREATED, RENDERED OR MIXED SO THAT THE RESULTANT MATERIAL NO LONGER MEETS THE DEFINITION OF IGNITABLE OR REACTIVE WASTE. | PERTAINS TO ALL SITES AT WHICH POTENTIALLY IGNITABLE OR REACTIVE HAZARDOUS WASTE MAY BE LANDFILLED.
HW | 3745-57-13 |  | LANDFILL REQUIREMENTS FOR INCOMPATIBLE WASTES | PROHIBITS THE DISPOSAL OF INCOMPATIBLE WASTE IN THE SAME CELL OF A LANDFILL. | PERTAINS TO ALL SITES AT WHICH POTENTIALLY INCOMPATIBLE HAZARDOUS WASTE MAY BE LANDFILLED.
HW | 3745-57-15 | A,B | LANDFILL REQUIREMENTS FOR CONTAINERS | UNLESS THEY ARE VERY SMALL, CONTAINERS MUST EITHER BE AT LEAST 90% FULL WHEN PLACED IN THE LANDFILL OR CRUSHED/SHREDDED PRIOR TO PLACEMENT IN THE LANDFILL. | PERTAINS TO ALL SITES AT WHICH A HAZARDOUS WASTE LANDFILL WILL EITHER BE LOCATED OR AN EXISTING LANDFILL WILL BE EXPANDED AND CONTAINERS ARE TO BE DISPOSED OF IN THE LANDFILL.
HW | 3745-57-16 | A-F | DISPOSAL OF SMALL CONTAINERS OF HAZARDOUS WASTE IN OVER | LAB PACKS CONTAINING HAZARDOUS WASTE MAY BE PLACED IN A LANDFILL IF CERTAIN REQUIREMENTS ARE MET. | PERTAINS TO ALL SITES AT WHICH A HAZARDOUS WASTE LANDFILL WILL EITHER BE LOCATED OR AN EXISTING LANDFILL WILL BE EXPANDED AND LAB PACKS ARE TO BE PLACED IN THE LANDFILL.
HW | 3745-57-17 | A | LANDFILL CONSTRUCTION INSPECTIONS | ALLOWS OHIO EPA OPPORTUNITY TO INSPECT LANDFILL DURING CONSTRUCTION. | PERTAINS TO ALL SITES AT WHICH A HAZARDOUS WASTE LANDFILL WILL EITHER BE LOCATED OR AN EXISTING LANDFILL WILL BE EXPANDED. THIS RULE PERTAINS TO EXISTING LAND-BASED AREAS OF CONTAMINATION.
HW | 3745-57-18 | A,B | SPECIAL REQUIREMENTS FOR "F" WASTES IN LANDFILLS | PROHIBITS THE PLACEMENT OF HAZARDOUS WASTES F020, F021, F022, F023, F026 AND F027 IN LANDFILLS. | PERTAINS TO ALL SITES AT WHICH A HAZARDOUS WASTE LANDFILL WILL EITHER BE LOCATED OR AN EXISTING LANDFILL WILL BE EXPANDED AND F-WASTES ARE BEING CONSIDERED FOR LANDFILLING.
HW | 3745-57-41 | A,B | WASTE ANALYSIS FOR INCINERATORS | REQUIRES WASTE ANALYSIS BE PERFORMED FOR TRIAL BURN AND FOR NORMAL OPERATION OF INCINERATOR. | PERTAINS TO ANY ALTERNATIVE THAT WILL INCORPORATE INCINERATION OF HAZARDOUS WASTES.
HW | 3745-57-42 | A,B,C | PRINCIPAL ORGANIC HAZARDOUS CONSTITUENTS; INCINERATORS | ESTABLISHES METHOD BY WHICH POHCS WILL BE SPECIFIED. | PERTAINS TO ANY ALTERNATIVE THAT WILL INCORPORATE INCINERATION OF HAZARDOUS WASTES.
HW | 3745-57-43 | A,B,C | PERFORMANCE STANDARDS FOR INCINERATORS | SPECIFIES PERFORMANCE STANDARDS THAT ALL INCINERATORS MUST MEET (DESTRUCTION REMOVAL EFFICIENCIES, HCL EMISSIONS, PARTICULATE EMISSIONS). | PERTAINS TO ANY ALTERNATIVE THAT WILL INCORPORATE INCINERATION OF HAZARDOUS WASTES.
HW | 3745-57-44 | C | INCINERATOR TRIAL BURNS - ALTERNATIVE DATA | REQUIRES TRIAL BURN TO DETERMINE FINAL OPERATING CONDITIONS. | PERTAINS TO ANY ALTERNATIVE THAT WILL INCORPORATE INCINERATION OF HAZARDOUS WASTES.
HW | 3745-57-45 | A-F | INCINERATOR OPERATING REQUIREMENTS | SPECIFIES GENERAL OPERATING REQUIREMENTS FOR ALL INCINERATORS. | PERTAINS TO ANY ALTERNATIVE THAT WILL INCORPORATE INCINERATION OF HAZARDOUS WASTES.
HW | 3745-57-47 | A,B,C | MONITORING AND INSPECTION OF INCINERATORS | REQUIRES THE MONITORING OF CERTAIN PARAMETERS ON A CONTINUOUS BASIS AND INSPECTIONS OF EQUIPMENT. | PERTAINS TO ANY ALTERNATIVE THAT WILL INCORPORATE INCINERATION OF HAZARDOUS WASTES.
HW | 3745-57-51 |  | CLOSURE OF INCINERATORS | REQUIRES THAT ALL HAZARDOUS WASTE AND HAZARDOUS WASTE RESIDUES BE REMOVED FROM THE INCINERATOR SITE. | PERTAINS TO ANY ALTERNATIVE THAT WILL INCORPORATE INCINERATION OF HAZARDOUS WASTES.
HW | 3745-57-72 | D | CORRECTIVE ACTION MANAGEMENT UNITS. | DISCUSSES RULES FOR CORRECTIVE ACTION MANAGEMENT UNITS | CONSIDER FOR SITES WITH ON-SITE TREATMENT, STORAGE OR DISPOSAL
HW | 3745-57-83 | A-J | DESIGN AND OPERATING REQUIREMENTS FOR DRIP PADS. | RULES FOR OPERATION OF DRIP PADS | CONSIDER FOR SITES WHERE ON-SITE TREATMENT OR STORAGE MAY REQUIRE DRIP PADS
HW | 3745-57-91 | A,B,C | ENVIRONMENTAL PERFORMANCE STANDARDS FOR MISC UNITS | ESTABLISHES LOCATION, DESIGN, CONSTRUCTION, OPERATION, MAINTENANCE AND CLOSURE REQUIREMENTS FOR MISCELLANEOUS UNITS USED TO TREAT, STORE OR DISPOSE OF HAZARDOUS WASTES. | PERTAINS TO ANY ALTERNATIVE THAT INCORPORATES TREATMENT, STORAGE OR DISPOSAL OF HAZARDOUS WASTES IN MISCELLANEOUS UNITS.
HW | 3745-57-92 |  | MONITORING, INSPECTING, ANALYZING, ... FOR MISC UNITS | REQUIRES THAT MONITORING, ANALYSIS, INSPECTION, RESPONSE, REPORTING AND CORRECTIVE ACTION BE CONDUCTED AS NECESSARY AT MISCELLANEOUS UNITS TO ASSURE THAT HUMAN HEALTH AND THE ENVIRONMENT ARE PROTECTED. | PERTAINS TO ANY ALTERNATIVE THAT INCORPORATES TREATMENT, STORAGE OR DISPOSAL OF HAZARDOUS WASTES IN MISCELLANEOUS UNITS.
HW | 3745-57-93 |  | POST-CLOSURE CARE FOR MISC DISPOSAL UNITS | REQUIRES POST-CLOSURE CARE OF MISCELLANEOUS UNITS THAT ARE DISPOSAL UNITS AND OF TREATMENT OR STORAGE MISCELLANEOUS UNITS THAT THAT LEAVE CONTAMINATED SOILS OR GROUND WATER AFTER CLOSURE. | PERTAINS TO ANY ALTERNATIVE THAT INCORPORATES TREATMENT, STORAGE OR DISPOSAL OF HAZARDOUS WASTES IN MISCELLANEOUS UNITS.
HW | 3745-66-11 | A,B,C | CLOSURE PERFORMANCE STANDARD | OWNER SHALL CLOSE FACILITY IN MANNER THAT MINIMIZES NEED FOR FURTHER MAINTENANCE AND REDUCES OR ELIMINATES POLLUTION OF GROUND WATER, SURFACE WATER OR ATMOSPHERE. | CONSIDER FOR REMEDIAL PLANS THAT MAY REQUIRE EXTENDED OPERATION AND MAINTENANCE OF EQUIPMENT. CONSIDER ALTERNATIVES WITH LESS LONG-TERM O&M. APPLICABLE FOR RCRA FACILITIES, APPROPRIATE AND RELEVANT FOR OTHER SITES.