## Sheet1
30-Minute Avgs | Station 1 |  |  | Station 2 |  |  | Station 3
| H2S | Met |  | H2S | Met |  | H2S | Met |  | AQS Null Data Codes
2022-01-18 00:30 | 30min Avg H2S Conc. | 30min Avg WS | 30min Avg WD | 30min Avg H2S Conc. | 30min Avg WS | 30min Avg WD | 30min Avg H2S Conc. | 30min Avg WS | 30min Avg WD | Qualifier | Item Description
Date / Time | ppb | mph | degrees | ppb | mph | degrees | ppb | mph | degrees | Code
2022-01-18 00:30 | AX | 4.2 | 228.6 | 3.8 | 1.6 | 229.9 | 0.2 | 0.8 | 201.8 | AB | TECHNICIAN UNAVAILABLE
2022-01-18 01:00 | 0.2 | 2.4 | 199 | AX | 1.9 | 249.7 | 0.2 | 0.9 | 221 | AC | CONSTRUCTION/REPAIRS IN AREA
2022-01-18 01:30 | 0.2 | 2.5 | 197.6 | 3 | 4 | 251.3 | AX | 1.5 | 233.7 | AD | SHELTER STORM DAMAGE
2022-01-18 02:00 | 0.2 | 1.7 | 144.6 | 4.2 | 1.6 | 226.4 | 0.2 | 1.6 | 229.1 | AE | SHELTER TEMPERATURE OUTSIDE LIMITS
2022-01-18 02:30 | 0.2 | 2.2 | 212.4 | 4.5 | 4.3 | 239 | 0.4 | 1.1 | 282.7 | AI | INSUFFICIENT DATA (CAN'T CALCULATE)
2022-01-18 03:00 | 0.2 | 2.6 | 206.6 | 9.6 | 1.8 | 246.9 | 0.4 | 0.3 | 285.5 | AM | MISCELLANEOUS VOID
2022-01-18 03:30 | 0.2 | 3 | 200 | 4 | 2.5 | 210.9 | 0.2 | 0.7 | 282.3 | AN | MACHINE MALFUNCTION
2022-01-18 04:00 | 0.2 | 2 | 196.5 | 0.8 | 1.7 | 199.1 | 1 | 0.4 | 84 | AO | BAD WEATHER
2022-01-18 04:30 | 0.2 | 2 | 217.2 | 0.7 | 1.6 | 200.4 | 2.3 | 0.5 | 276.5 | AP | VANDALISM
2022-01-18 05:00 | 0.2 | 2.1 | 215.3 | 3.2 | 0.7 | 210.1 | 0.6 | 0.2 | 266 | AS | POOR QUALITY ASSURANCE RESULTS
2022-01-18 05:30 | 0.2 | 1.9 | 221.2 | 2.7 | 1 | 8.9 | 0.2 | 0.2 | 249.6 | AT | CALIBRATION
2022-01-18 06:00 | 0.2 | 2.6 | 177.4 | 0.2 | 0.7 | 37.1 | 0.4 | 0.3 | 194.6 | AU | MONITORING WAIVED
2022-01-18 06:30 | 0.2 | 2.5 | 187.8 | 0.6 | 0.7 | 30.1 | 0.6 | 0.2 | 122.1 | AV | POWER FAILURE (POWR)
2022-01-18 07:00 | 0.2 | 2.8 | 177.9 | 2.1 | 0.9 | 71.1 | 0.7 | 0.2 | 152.7 | AW | WILDLIFE DAMAGE
2022-01-18 07:30 | 0.2 | 1.7 | 180.2 | 1.3 | 0.8 | 44.7 | 0.5 | 0.3 | 13.8 | AX | PRECISION CHECK (PREC)
2022-01-18 08:00 | 0.2 | 1.6 | 166.2 | 0.7 | 0.8 | 27 | 0.2 | 0.3 | 130.4 | AY | Q C CONTROL POINTS (ZERO/SPAN)
2022-01-18 08:30 | 0.4 | 3 | 307.9 | 0.8 | 1.3 | 40.3 | 0.2 | 0.5 | 31.5 | AZ | Q C AUDIT (AUDT)
2022-01-18 09:00 | 0.9 | 6.6 | 326.5 | 0.4 | 1.9 | 30.2 | 0.2 | 1.3 | 2.6 | BA | MAINTENANCE/ROUTINE REPAIRS
2022-01-18 09:30 | 0.9 | 7 | 331.7 | 0.2 | 2.2 | 319.8 | 0.2 | 0.8 | 331.3 | BB | UNABLE TO REACH SITE
2022-01-18 10:00 | 0.5 | 6.9 | 332.1 | 0.2 | 2.9 | 308.4 | 0.2 | 1.5 | 349.4 | BC | MULTI-POINT CALIBRATION
2022-01-18 10:30 | 0.4 | 7.6 | 337.8 | 0.4 | 2.5 | 344.5 | 0.2 | 2.5 | 0.2 | BD | AUTO CALIBRATION
2022-01-18 11:00 | 0.5 | 8.9 | 327.9 | 0.4 | 3.7 | 306.1 | 0.2 | 1.3 | 329 | BE | BUILDING/SITE REPAIR
2022-01-18 11:30 | 0.2 | 6.4 | 331.8 | 0.5 | 3.1 | 297.9 | 0.2 | 1.8 | 9.9 | BF | PRECISION/ZERO/SPAN
2022-01-18 12:00 | 0.2 | 3.6 | 320.5 | 0.2 | 2.2 | 317.8 | 0.2 | 1.6 | 22.3 | BJ | OPERATOR ERROR
2022-01-18 12:30 | 0.2 | 2.5 | 337.9 | 0.5 | 2.5 | 143.9 | 0.2 | 1.8 | 42 | BK | SITE COMPUTER/DATA LOGGER DOWN
2022-01-18 13:00 | 0.4 | 4 | 344.9 | 0.2 | 2.7 | 293.3 | 0.2 | 1.5 | 11.4
2022-01-18 13:30 | 0.2 | 5.5 | 313.4 | 0.2 | 2.9 | 22.2 | 0.2 | 1.8 | 28.3
2022-01-18 14:00 | 0.2 | 2 | 62.3 | 0.2 | 2.5 | 48.3 | 0.2 | 1.5 | 35.3
2022-01-18 14:30 | 0.2 | 1.5 | 46.3 | 0.2 | 2.5 | 61 | 0.2 | 1.9 | 357.5
2022-01-18 15:00 | 0.2 | 1.9 | 34.5 | 0.2 | 2.3 | 103.2 | 0.2 | 1.6 | 18
2022-01-18 15:30 | 0.2 | 1.7 | 40.6 | 0.7 | 1.6 | 168.7 | 0.4 | 1.6 | 28.4
2022-01-18 16:00 | 0.2 | 1.8 | 43.6 | 0.7 | 1.7 | 55.2 | 0.2 | 1.2 | 343.4
2022-01-18 16:30 | 0.2 | 2.2 | 312.8 | 0.7 | 1.9 | 3.9 | 0.5 | 0.9 | 340.6
2022-01-18 17:00 | 0.2 | 2.6 | 279.1 | 0.7 | 2.3 | 342.1 | 1 | 0.8 | 222.5
2022-01-18 17:30 | 0.2 | 1.5 | 228.2 | 1.7 | 1.4 | 8.9 | 1.4 | 0.6 | 249.3
2022-01-18 18:00 | 0.2 | 2.7 | 206.7 | 0.8 | 0.4 | 253 | 0.9 | 0.3 | 274.7
2022-01-18 18:30 | 0.2 | 2.7 | 207.8 | 0.7 | 0.5 | 272.5 | 0.9 | 0.2 | 270.9
2022-01-18 19:00 | 0.2 | 2.2 | 208.3 | 0.9 | 0.4 | 266.9 | 0.9 | 0.2 | 249.5
2022-01-18 19:30 | 0.2 | 1.8 | 202.8 | 0.8 | 0.3 | 280.1 | 1.1 | 0.2 | 250.6
2022-01-18 20:00 | 0.2 | 1.4 | 197.8 | 1.9 | 0.4 | 18.5 | 4.4 | 0.2 | 234.6
2022-01-18 20:30 | 0.2 | 1.2 | 185.6 | 1.7 | 0.4 | 6.6 | 4 | 0.2 | 129.6
2022-01-18 21:00 | 0.2 | 1.7 | 193.3 | 1.3 | 0.6 | 339.6 | 2.4 | 0.2 | 261.4
2022-01-18 21:30 | 0.2 | 1.3 | 179.3 | 1.8 | 0.7 | 25.8 | 2.2 | 0.2 | 135.1
2022-01-18 22:00 | 0.2 | 1.7 | 196.8 | 1.1 | 0.5 | 336.2 | 1.7 | 0.2 | 247.6
2022-01-18 22:30 | 0.2 | 1.5 | 203.7 | 1.3 | 0.8 | 339.5 | 1.9 | 0.2 | 268
2022-01-18 23:00 | 0.2 | 1.4 | 167.3 | 1.6 | 0.9 | 28.9 | 2.2 | 0.2 | 209
2022-01-18 23:30 | 0.2 | 1.4 | 183.3 | 2 | 0.7 | 14.7 | 2 | 0.3 | 169.2
2022-01-19 | 0.2 | 1.6 | 186.8 | 1.5 | 0.5 | 23.9 | 1.7 | 0.2 | 216.1