## Sheet1
30-Minute Avgs | Station 1 |  |  | Station 2 |  |  | Station 3
| H2S | Met |  | H2S | Met |  | H2S | Met |  | AQS Null Data Codes
2022-06-20 00:30 | 30min Avg H2S Conc. | 30min Avg WS | 30min Avg WD | 30min Avg H2S Conc. | 30min Avg WS | 30min Avg WD | 30min Avg H2S Conc. | 30min Avg WS | 30min Avg WD | Qualifier | Item Description
Date / Time | ppb | mph | degrees | ppb | mph | degrees | ppb | mph | degrees | Code
2022-06-20 00:30 | AX | 1.6 | 186.7 | 0.2 | 0.6 | 28.8 | 0.4 | 0.2 | 241.1 | AB | TECHNICIAN UNAVAILABLE
2022-06-20 01:00 | 1.5 | 0.9 | 113.6 | AX | 0.4 | 32 | 0.5 | 0.3 | 314.6 | AC | CONSTRUCTION/REPAIRS IN AREA
2022-06-20 01:30 | 1.2 | 0.8 | 148.2 | 0.7 | 0.8 | 19.7 | AX | 0.2 | 307.4 | AD | SHELTER STORM DAMAGE
2022-06-20 02:00 | 12.7 | 2 | 69.8 | 0.2 | 0.5 | 21 | 0.2 | 0.2 | 280.4 | AE | SHELTER TEMPERATURE OUTSIDE LIMITS
2022-06-20 02:30 | 12.9 | 0.8 | 126.6 | 0.2 | 0.4 | 49.2 | 0.2 | 0.4 | 283.9 | AI | INSUFFICIENT DATA (CAN'T CALCULATE)
2022-06-20 03:00 | 10 | 0.7 | 120.7 | 0.2 | 0.6 | 23.3 | 0.2 | 0.3 | 240.6 | AM | MISCELLANEOUS VOID
2022-06-20 03:30 | 18 | 1.2 | 87.4 | 0.2 | 0.5 | 31.1 | 0.2 | 0.2 | 250.7 | AN | MACHINE MALFUNCTION
2022-06-20 04:00 | 11.6 | 1.8 | 42.7 | 0.2 | 0.4 | 13.1 | 0.2 | 0.2 | 250.1 | AO | BAD WEATHER
2022-06-20 04:30 | 5.4 | 2.6 | 58.4 | 0.2 | 0.6 | 336.8 | 0.2 | 0.3 | 294.6 | AP | VANDALISM
2022-06-20 05:00 | 11.9 | 0.5 | 180.1 | 0.2 | 0.2 | 18.6 | 0.2 | 0.3 | 273.2 | AS | POOR QUALITY ASSURANCE RESULTS
2022-06-20 05:30 | 6.1 | 1.1 | 152.9 | 0.2 | 0.9 | 22.4 | 0.2 | 0.2 | 264.6 | AT | CALIBRATION
2022-06-20 06:00 | 10.6 | 3.1 | 19.5 | 0.2 | 1.3 | 33.9 | 0.2 | 0.4 | 8 | AU | MONITORING WAIVED
2022-06-20 06:30 | 10.8 | 1.8 | 53.5 | 0.2 | 0.4 | 52.7 | 0.2 | 0.6 | 85.7 | AV | POWER FAILURE (POWR)
2022-06-20 07:00 | 8.8 | 1.2 | 52.3 | 0.2 | 0.8 | 287.2 | 0.2 | 0.6 | 156.9 | AW | WILDLIFE DAMAGE
2022-06-20 07:30 | 6.2 | 1.6 | 60.7 | 0.2 | 0.9 | 308.4 | 0.2 | 1.1 | 67.2 | AX | PRECISION CHECK (PREC)
2022-06-20 08:00 | 9.9 | 1.7 | 27.4 | 0.2 | 1.1 | 358 | 0.2 | 0.7 | 18.2 | AY | Q C CONTROL POINTS (ZERO/SPAN)
2022-06-20 08:30 | 5.6 | 1.2 | 344.2 | 0.2 | 1.1 | 288.4 | 0.2 | 0.8 | 51.1 | AZ | Q C AUDIT (AUDT)
2022-06-20 09:00 | 2.3 | 1.5 | 357.6 | 0.2 | 1.1 | 343.7 | 0.2 | 0.9 | 26.7 | BA | MAINTENANCE/ROUTINE REPAIRS
2022-06-20 09:30 | 2.6 | 1.1 | 255.8 | 0.2 | 1.6 | 282.3 | 0.2 | 0.8 | 156.8 | BB | UNABLE TO REACH SITE
2022-06-20 10:00 | 1.8 | 2.5 | 226.2 | 2.7 | 1.4 | 203.5 | 1 | 1.4 | 38.2 | BC | MULTI-POINT CALIBRATION
2022-06-20 10:30 | 1.5 | 3 | 16 | 1.7 | 1.7 | 56.8 | 0.2 | 1.8 | 13 | BD | AUTO CALIBRATION
2022-06-20 11:00 | 1.6 | 3.5 | 29.3 | 0.2 | 2.6 | 23.5 | 0.2 | 1.5 | 45.3 | BE | BUILDING/SITE REPAIR
2022-06-20 11:30 | 0.8 | 2.5 | 337.9 | 0.2 | 1.2 | 325.8 | 0.2 | 1.2 | 5.4 | BF | PRECISION/ZERO/SPAN
2022-06-20 12:00 | 0.2 | 3.8 | 270.1 | 0.4 | 1.6 | 218.6 | 0.2 | 1 | 5.1 | BJ | OPERATOR ERROR
2022-06-20 12:30 | 0.2 | 3 | 261.6 | 0.2 | 1 | 48.2 | 0.2 | 1.3 | 82.6 | BK | SITE COMPUTER/DATA LOGGER DOWN
2022-06-20 13:00 | 0.2 | 1.7 | 266.9 | 0.2 | 1.9 | 66.1 | 0.2 | 1.7 | 98.1
2022-06-20 13:30 | 0.5 | 3.5 | 32.9 | 0.2 | 1.7 | 62.1 | 0.2 | 2.1 | 39.2
2022-06-20 14:00 | 0.5 | 4.9 | 55.5 | 0.2 | 2.1 | 8.1 | 0.2 | 1.9 | 7
2022-06-20 14:30 | 0.6 | 2.8 | 112.2 | 0.2 | 2.1 | 18.5 | 0.2 | 1.4 | 270.2
2022-06-20 15:00 | 0.5 | 2.7 | 128.1 | 0.2 | 1.7 | 3.9 | 0.2 | 1.2 | 56.6
2022-06-20 15:30 | 0.4 | 2 | 90.2 | 0.2 | 1.2 | 171 | 0.2 | 0.8 | 337.1
2022-06-20 16:00 | 0.2 | 2.4 | 105.7 | 0.2 | 0.7 | 305 | 0.2 | 0.3 | 299.1
2022-06-20 16:30 | 0.5 | 1.5 | 117.1 | 0.2 | 0.3 | 49 | 0.2 | 0.5 | 293.2
2022-06-20 17:00 | 0.6 | 1.5 | 150.9 | 0.2 | 0.9 | 124.3 | 0.2 | 0.3 | 310.7
2022-06-20 17:30 | 0.2 | 1.3 | 198.9 | 0.5 | 0.6 | 148.7 | 0.2 | 0.3 | 296.1
2022-06-20 18:00 | 0.2 | 1.8 | 152.8 | 0.2 | 0.9 | 122.7 | 0.4 | 0.4 | 71.6
2022-06-20 18:30 | 0.2 | 2.9 | 87.4 | 0.2 | 0.6 | 25.3 | 0.2 | 0.4 | 351.2
2022-06-20 19:00 | 0.2 | 2.5 | 102.7 | 0.2 | 0.8 | 27.5 | 0.2 | 0.4 | 24.9
2022-06-20 19:30 | 0.8 | 1 | 128.7 | 0.2 | 1.1 | 33.7 | 0.2 | 0.4 | 351.2
2022-06-20 20:00 | 1.2 | 2 | 171.6 | 0.2 | 0.6 | 13.8 | 0.2 | 0.3 | 292.2
2022-06-20 20:30 | 0.4 | 1.9 | 174.6 | 0.2 | 0.7 | 61.7 | 0.2 | 0.5 | 255.3
2022-06-20 21:00 | 0.2 | 1.5 | 96.3 | 0.2 | 0.4 | 51.2 | 0.2 | 0.2 | 262.9
2022-06-20 21:30 | 1.9 | 1 | 17 | 0.2 | 0.5 | 36.8 | 0.2 | 0.2 | 272
2022-06-20 22:00 | 1.3 | 1.1 | 63.8 | 0.2 | 0.7 | 55.8 | 0.2 | 0.2 | 271.3
2022-06-20 22:30 | 0.7 | 1.7 | 96.4 | 0.2 | 0.5 | 38.9 | 0.2 | 0.3 | 268.9
2022-06-20 23:00 | 0.6 | 1.4 | 80.7 | 0.2 | 0.7 | 30.8 | 0.2 | 0.3 | 250.9
2022-06-20 23:30 | 0.7 | 0.9 | 119.8 | 0.2 | 0.6 | 38.1 | 0.2 | 0.2 | 265.9
2022-06-21 | 0.6 | 1.5 | 180.1 | 0.2 | 0.7 | 351.8 | 0.2 | 0.4 | 271.8