## Sheet1
30-Minute Avgs | Station 1 |  |  | Station 2 |  |  | Station 3
| H2S | Met |  | H2S | Met |  | H2S | Met |  | AQS Null Data Codes
2022-06-25 00:30 | 30min Avg H2S Conc. | 30min Avg WS | 30min Avg WD | 30min Avg H2S Conc. | 30min Avg WS | 30min Avg WD | 30min Avg H2S Conc. | 30min Avg WS | 30min Avg WD | Qualifier | Item Description
Date / Time | ppb | mph | degrees | ppb | mph | degrees | ppb | mph | degrees | Code
2022-06-25 00:30 | AX | 2.2 | 213.2 | 0.2 | 0.8 | 359.1 | 0.2 | 0.4 | 335.4 | AB | TECHNICIAN UNAVAILABLE
2022-06-25 01:00 | 0.8 | 1.1 | 165 | AX | 0.8 | 258.3 | 0.2 | 0.6 | 234.6 | AC | CONSTRUCTION/REPAIRS IN AREA
2022-06-25 01:30 | 0.6 | 2.4 | 163.4 | 0.4 | 0.4 | 72.4 | AX | 0.5 | 103.9 | AD | SHELTER STORM DAMAGE
2022-06-25 02:00 | 0.4 | 1.8 | 135.6 | 0.2 | 0.8 | 353.4 | 0.2 | 0.5 | 7.7 | AE | SHELTER TEMPERATURE OUTSIDE LIMITS
2022-06-25 02:30 | 0.4 | 1 | 150.3 | 0.2 | 0.4 | 352.1 | 0.2 | 0.4 | 272.9 | AI | INSUFFICIENT DATA (CAN'T CALCULATE)
2022-06-25 03:00 | 0.2 | 0.7 | 111.8 | 0.2 | 0.4 | 53.8 | 0.2 | 0.3 | 266 | AM | MISCELLANEOUS VOID
2022-06-25 03:30 | 0.4 | 0.6 | 134.2 | 0.2 | 0.6 | 39.7 | 0.2 | 0.4 | 233.1 | AN | MACHINE MALFUNCTION
2022-06-25 04:00 | 0.2 | 0.7 | 69.6 | 0.2 | 1.2 | 25.5 | 0.2 | 0.8 | 52.1 | AO | BAD WEATHER
2022-06-25 04:30 | 0.2 | 0.6 | 174.8 | 0.2 | 1 | 359.8 | 0.2 | 0.3 | 284.6 | AP | VANDALISM
2022-06-25 05:00 | 0.2 | 1.1 | 125.6 | 0.2 | 0.6 | 23.7 | 0.2 | 0.5 | 74.9 | AS | POOR QUALITY ASSURANCE RESULTS
2022-06-25 05:30 | 0.2 | 1.6 | 172 | 0.4 | 0.6 | 240.3 | 0.2 | 0.5 | 246.1 | AT | CALIBRATION
2022-06-25 06:00 | 0.2 | 1.7 | 169 | 0.8 | 0.3 | 98.4 | 0.7 | 0.7 | 221.7 | AU | MONITORING WAIVED
2022-06-25 06:30 | 0.2 | 1.4 | 205.5 | 0.2 | 0.4 | 288.6 | 0.2 | 0.3 | 12.9 | AV | POWER FAILURE (POWR)
2022-06-25 07:00 | 0.2 | 1.4 | 129.4 | 0.2 | 0.7 | 133 | 0.2 | 1.2 | 200.6 | AW | WILDLIFE DAMAGE
2022-06-25 07:30 | 0.2 | 1.7 | 140 | 0.2 | 1.2 | 209.5 | 0.2 | 2 | 179.5 | AX | PRECISION CHECK (PREC)
2022-06-25 08:00 | 0.2 | 3.3 | 150.8 | 0.2 | 1.2 | 168.9 | 0.2 | 1.7 | 174.9 | AY | Q C CONTROL POINTS (ZERO/SPAN)
2022-06-25 08:30 | 0.2 | 4.7 | 168.5 | 0.2 | 2.2 | 217.4 | 0.2 | 1.9 | 191.8 | AZ | Q C AUDIT (AUDT)
2022-06-25 09:00 | 0.2 | 2.3 | 231.3 | 0.2 | 1.8 | 227.5 | 1.8 | 2.3 | 194.5 | BA | MAINTENANCE/ROUTINE REPAIRS
2022-06-25 09:30 | 0.2 | 2.4 | 254.1 | 0.2 | 1.6 | 231.8 | 1.3 | 0.8 | 275 | BB | UNABLE TO REACH SITE
2022-06-25 10:00 | 0.2 | 2 | 251.8 | 0.6 | 1.3 | 235.1 | 0.2 | 0.8 | 25.4 | BC | MULTI-POINT CALIBRATION
2022-06-25 10:30 | 0.2 | 1.9 | 316.5 | 0.2 | 1.8 | 237.4 | 0.2 | 1.8 | 116.8 | BD | AUTO CALIBRATION
2022-06-25 11:00 | 0.2 | 3.8 | 191.5 | 0.2 | 1.4 | 182.5 | 0.2 | 2.1 | 169.5 | BE | BUILDING/SITE REPAIR
2022-06-25 11:30 | 0.2 | 3.7 | 316.4 | 1.5 | 2 | 270 | 0.9 | 1.3 | 345.3 | BF | PRECISION/ZERO/SPAN
2022-06-25 12:00 | 0.2 | 1.8 | 357.8 | 0.6 | 0.7 | 86 | 0.6 | 1.2 | 9.3 | BJ | OPERATOR ERROR
2022-06-25 12:30 | 0.2 | 1.9 | 2.9 | 1 | 1.4 | 173.9 | 0.2 | 1.9 | 35.7 | BK | SITE COMPUTER/DATA LOGGER DOWN
2022-06-25 13:00 | 0.2 | 1.6 | 327.3 | 0.4 | 1.9 | 4.1 | 0.2 | 2.1 | 5.1
2022-06-25 13:30 | 0.7 | 3 | 30.6 | 0.4 | 1.5 | 86.7 | 0.4 | 2.1 | 36.1
2022-06-25 14:00 | 0.2 | 3.5 | 129.8 | 0.5 | 1.5 | 64 | 0.2 | 2.1 | 78
2022-06-25 14:30 | 0.2 | 2.1 | 141.5 | 0.2 | 1.6 | 316.1 | 0.2 | 2 | 67.4
2022-06-25 15:00 | 0.4 | 3.8 | 311.2 | 0.2 | 1.2 | 70 | 0.2 | 1.7 | 89.6
2022-06-25 15:30 | 0.9 | 2.9 | 328.2 | 0.2 | 1.4 | 54.2 | 0.2 | 2.1 | 58.9
2022-06-25 16:00 | 0.2 | 1.7 | 84.3 | 0.2 | 1.5 | 16.2 | 0.2 | 2 | 79.7
2022-06-25 16:30 | 0.2 | 3 | 77.1 | 0.2 | 1.3 | 199.9 | 0.2 | 1.5 | 97.9
2022-06-25 17:00 | 0.2 | 2.2 | 106.1 | 0.2 | 0.4 | 134.7 | 0.2 | 0.5 | 51
2022-06-25 17:30 | 0.2 | 1.5 | 121.2 | 0.2 | 0.5 | 86.6 | 0.2 | 0.3 | 84.8
2022-06-25 18:00 | 0.2 | 1.2 | 146.5 | 0.2 | 0.5 | 35.2 | 0.2 | 0.5 | 2.6
2022-06-25 18:30 | 23.6 | 1.2 | 159.6 | 0.2 | 0.3 | 92.4 | 0.2 | 0.5 | 338.3
2022-06-25 19:00 | 7.6 | 1.1 | 106.1 | 0.2 | 0.3 | 53.6 | 0.2 | 0.5 | 344.6
2022-06-25 19:30 | 9 | 1.1 | 167.9 | 0.2 | 0.3 | 39.8 | 0.2 | 0.3 | 341.4
2022-06-25 20:00 | 13 | 1.2 | 152.7 | 0.2 | 0.4 | 328 | 0.2 | 0.3 | 343.5
2022-06-25 20:30 | 18 | 1.5 | 175.9 | 0.2 | 0.4 | 19.1 | 0.2 | 0.4 | 357.1
2022-06-25 21:00 | 7.2 | 1 | 155.5 | 0.2 | 0.6 | 29.5 | 0.2 | 0.3 | 12.9
2022-06-25 21:30 | 8.1 | 1.1 | 93.3 | 0.2 | 0.7 | 35.3 | 0.2 | 0.7 | 84.3
2022-06-25 22:00 | 18.8 | 1.5 | 167.3 | 0.2 | 0.3 | 255.4 | 0.2 | 0.4 | 60.8
2022-06-25 22:30 | 13.1 | 1.1 | 126 | 0.2 | 0.6 | 47 | 0.2 | 0.6 | 79.4
2022-06-25 23:00 | 15.2 | 1.9 | 172.4 | 0.2 | 0.6 | 16.8 | 0.2 | 0.7 | 83.7
2022-06-25 23:30 | 11.1 | 3.6 | 150.4 | 0.2 | 0.7 | 125.1 | 0.2 | 1 | 208
2022-06-26 | 4 | 6.4 | 153.4 | 0.2 | 1.4 | 235.2 | 0.2 | 1.7 | 201.2